Section 2

UNMS Software Specifications

Table of Contents

2.1 	Introduction ....................................................................................................................... 3

2.2 	General Requirements ...................................................................................................... 3

2.3            Control Centre Architecture: ............................................................................................ 4

2.4            Software Requirements for U-NMS ................................................................................. 6

2.4.1         Service Fulfillment ............................................................................................................ 6

2.4.1.1       Network Resource Management…………………………………………………	......... 6

2.4.1.2       Design, Assign, Activation/Provisioning, Configuration and Re-Engineering.......... 9

2.4.2 	Service Assurance ........................................................................................................... 12

2.4.2.1 	Fault Management System…………………………………………………................. 12

2.4.2.2 	Performance Management System ................................................................................ 18

2.5 	  Functional Requirements of U-NMS………………………………………… ............. 22

2.5.1 	Unified U-NMS Console (Common Reporting & Dash boarding System) ................. 22

2.5.1.1 	Generic ............................................................................................................................. 22

2.5.1.2 	User Management ........................................................................................................... 22

2.5.1.3 	Integrations ...................................................................................................................... 22

2.5.1.4     U-NMS Console on Mobile/Handheld….........................................................................22

2.5.1.5 	Dashboards ...................................................................................................................... 23

2.5.1.6 	Reporting ......................................................................................................................... 23

2.5.1.7 	Fault Analysis and  Statistics ......................................................................................... 24

2.5.2 	Trouble Ticketing & Web Portal System ...................................................................... 25

2.5.2.1 	Trouble Ticketing System .............................................................................................. 26

2.5.2.2 	Web portal system: ......................................................................................................... 30

2.6 	Generic Integration Requirements:............................................................................... 30

2.6.1 	Integration Points: .......................................................................................................... 30

2.6.2 	Future Readiness ............................................................................................................. 30

2.6.3 	User Management ........................................................................................................... 31

2.6.3.1 	User Authentication & Authorization ........................................................................... 31

2.6.3.2 	User Administration ....................................................................................................... 32

2.6.3.3 	User Audit ........................................................................................................................ 33

2.6.4 	System Security, Access Control Management System & Audit ................................ 33

2.7 	Web User Management .................................................................................................. 35

2.8 	Pre- Assessment of NMS/EMS Upgrades: .................................................................... 35

2.9 	SLA Management ........................................................................................................... 36

2.9.1 	SLA Monitoring .............................................................................................................. 36

2.9.2 	SLA Reporting................................................................................................................. 36

2.9.3 	SLA Portal ....................................................................................................................... 36

2.10 	IT Setup: .......................................................................................................................... 37

2.10.1 	Reverse proxy: ................................................................................................................. 37

2.10.2 	GSLB (Global Server Load Balancer):. ........................................................................ 37

Section 2

U-NMS Software Specifications

# 2.1 	Introduction

This section describes software requirements for various functionalities of Unified Network Management System (U-NMS).

U-NMS shall facilitate centralized supervision, operation & control of the Regional and State level Communication system on round the clock basis with main & back-up configuration. It shall be possible to operate, monitor, configure, addition/ deletion and control elements of Communication Network from U-NMS. This system shall also assist in the operations and maintenance of the communication resources including detection of circuit failure and system performance, the diagnosis of problems, the implementation of system suggested remedial actions and the allocation or reallocation of communications resources.

# 2.2 	General Requirements

The supplied system of U-NMS shall be provided with main & back-up configuration in High Availability (HA) mode consisting of UNMS server software & hardware (including storage devices, VPS, Firewall, local console, printer etc.) for Regional configuration and extended client/workstation of regional UNMS  for State level U-NMS to manage their respective Regional/State Communication Network.

    - U-NMS shall facilitate following services through the supplied system:

- Network 	Resource 	Management 	(Network 	Discovery 	& 	            Inventory Management)

- Design, Assign, Activation/Provisioning, Configuration and Re-Engineering    System,  Network Planning & Capacity Optimization

- Fault Management System with Analytics for trending & prediction

- Performance Management system

- Trouble Ticketing System (Incident Management System & Web Portal)

- Reporting & Dash Boarding System

    - The sub-systems used to provide the above services shall be fully integrated among each other so as to provide seamless operations.

    - The design shall be according to industry best practices and follow proper disaster recovery procedures and emergency response procedures in case of a disaster.

    - Hardware Sizing & Software licenses to be provided considering for 200% expandability for both NMSs and (NEs & VNE‟s) without affecting performance of the supplied system.

    - The U-NMS design concept, functional and informational architecture and physical architecture, shall comply with ITU-T Recommendation M.3010.

    - The source codes /web-services based APIs of the proposed U-NMS shall be provided to allow integration with upper-layer management systems via XML/SOAP/HTTPS etc.

    - Supplied U-NMS system shall support north bound CORBA/XML/ Q3/SNMP or any other acceptable open standard interface for ensuring integration with other existing/upcoming U-NMS of similar nature.

    - The system shall be integration with SCADA system of Control Centers such as Load Dispatch Centers (LDCs) & Renewable Energy Management System (REMC) on standard protocol such as ICCP/web services/OPC etc. for Remote Terminal Unit (RTU) availability and co-relating the same with respective link/node availability.

2.3      Control Centre Architecture:

2.3.1   The proposed solution shall have High Availability (HA) in active-active configuration mode at main & back-up Regional CC to maintain uninterrupted service in the event of any kind of software or hardware failure.

    - The infrastructure offered for proposed solution shall be completely virtualized and it shall be possible to scale it vertically and horizontally for future requirements. Supply, installation & commissioning of Software for virtualization shall be in the scope of bidder. Details of hardware requirement are elaborated in Section-3 of this Technical Specifications.

    - The Operation of Main and backup control centre will be coordinated in such a way that the Application and Database in both the control centres are real time synchronized.

2.3.3   The replication of Database (Main and backup) shall be done automatically (ref. Figure 2-1) and are in near real time. In case of failure of main control centre, the control function shall be fully taken care by the backup centre automatically and manual take over as per Employer’s requirement. The U-NMS should operate in an active-active mode at Application and Database, so that if one application goes down, other application should come up automatically. The Availability of the U-NMS should be more than 99.9% on yearly basis.

Main & Back-up CC Connectivity (Typical)

FIGURE-2-1

    - Restoration of main Control Centre shall be done after synchronism of database is achieved and after proper validation which shall be done automatically. Similar methodology shall be adopted for restoration of back up Control centre from a failover situation.

    - The proposed system shall meet main-backup redundancy requirement for all the Applications, Tools & Database envisaged under this Technical Specification.

    - The Control Center architecture shall be scalable and shall have high performance. Critical network equipment such as Switches, Routers and firewalls shall be provided on a redundant mode with device level redundancy.

    - The switches are to be used to interconnect the Database Servers, Application Servers and CC Administration Server. External firewalls secure the Control Centres from the external world. Internal firewalls separate the zones of Application / Database tier from the web tier & administration Tier (ref Figure 2-2).

Figure- 2-2: CC Architecture (Typical)

2.3.12 Intrusion Detection & Prevention System shall scrutinize all the traffic entering into the CC from the internet for all type of attacks through Centralized Management Console.

Back-up Control Center:

- A replication link shall terminate over the WAN router at CC. The replication link shall be provided by Employer to meet the requirements.

- Data from the Main CC shall be replicated to the back-up CC in asynchronous mode on an ongoing basis.

- During regular updates, only incremental data pertaining to the previous interval shall be transferred. However, it shall also be possible to mirror the whole database during slack hours any number of times during the day at prescribed hours.

- It shall be possible to monitor the health of back-up CC from main CC and vice - versa continuously or under operator command.

- The Contractor at least once in each quarter of the year, at a time mutually agreed shall conduct the back-up drill.

## 2.4 	Software requirements for U-NMS

The U-NMS system shall have capability of integration with multiple wired/wireless technologies like SDH, PDH, DWDM, CWDM, ASON, OTN, PTN, MPLS, VSAT, Radio etc. from multiple vendors. However, during implementation of U-NMS, transmission system technology, termination/cross-connect/Access system configured in the network shall be considered for integration in the proposed U-NMS. U-NMS shall ensure seamless operation & management of Communication network viz. fault Management, Design & Provisioning, Inventory management, Performance monitoring etc. without dependency on underlying NMS. The delay/latency added due to U-NMS in existing Communication system shall not exceed 1ms. Proposed U-NMS Performance Parameters for various aspects are provided at appendix. The system shall have capabilities to take manual inputs for the systems which are not integrated  and shall consume & correlate the same for system discovery and O&M.

### 2.4.1 Service Fulfillment

2.4.1.1 Network 	Resource 	Management 	(Network 	Discovery & Inventory Management):

There shall be facility for discovering the entire existing network and service/circuit inventory. System shall support Auto Discovery and on demand Manual discovery of Network Inventory, Network Topology, Services/Circuits and Topology Links. It should be possible to define and view a complete Topology of the network in the Network inventory solution.

System shall integrate with NMS/NE to capture network inventory. Further, it shall have facility to integrate with more than one of the following applicable sources and discover /capture the inventory from a combination of sources to build the E2E Network inventory:

  - Integration with other Existing Inventory Management Systems, if exists.

  - Importing from Excel files

  - Support in the proposed system for Templates / Rules based inventory building

Inventory data in the context of U-NMS refers to service/circuit, logical and physical network inventory data besides others required in order to implement the service-assurance related functionality of the U-NMS. The data that has to be maintained shall include the following but not limited to:

- The U-NMS Application shall do Automatic Topology Discovery for complete network. Appropriate Bridge/Agent/Adapter software for each Vendor technology shall communicate either with the respective NMSs or with the NEs directly, without adding any further delay.

- The application would then filter, correlate, reconcile and stitch the data together to give a complete picture of the E2E circuits comprising of multiple make nodes from multiple vendors and topology of the network.

- Auto Discovery System shall have GUI based User Interface to provide map based GUI to view the discovered Information on geographical map such as Google earth etc., tracks discovery processes and allows to add/modify/delete profiles, which defines scope of discovery. GUI module shall be capable to present the different features to the users based on their respective privilege.

- Since any communication network will undergo frequent changes, there should be an automatic way to discover the newly added links. Deletion of the existing links shall also be possible by adopting a similar approach with user confirmation. The system should support dynamic addition/deletion of new links.

- The system shall provide for the categorization of the circuits (Healthy Circuits, Hanging Circuits, etc.) and shall discover the circuits found hanging and the same would be identified and reported to the user.

- The system shall provide GUI support to provide a view of all incomplete discovery run status with option to suspend/resume/cancel. It should also provide the history logs of completed discoverer processes

- Manual data entry or data population of the U-NMS data stores should be minimized or avoided completely where ever feasible.

- The system shall support circuit end-to-end route discovery and display in GUI view, including network, node, card, port, timeslot with all internal patching etc. (MUX /DEMUX, OUT level).

- The system shall provide inventory management process automation capabilities and offer full visibility of all communication assets across the Regional/State Utility network.

- The system shall discover the physical and logical attributes for all the equipment and for all equipment types in the network.

- Physical attributes shall include node name, node id, channels available, NSAP/IP address, Serial number, Shelves, Slots, cable and ports etc.

- Logical attributes to be discovered shall include cross connect details, bandwidth, A end and Z end, CTP details, Protected/Unprotected circuits, Topology link, Protection paths, Circuit names, System configurations, etc.

- The system should allow discoveries of smaller subsets of the network.

- The IP based (SUBNET) discovery of network elements should also be supported.

- It should be able to create profiles and initiate the profile based discovery.

- It should provide different reports based on the discovered data and export the data in mutually agreed formats such as .exe /.pdf/.hxml/.doc/.ppt etc.

- The system should support configuration of threshold for data poling to ensure CPU utilization is not exceeded permissible limit per vendor or discovery schedule. The same shall be depicted by a system-generated report for an instantaneous / average utilization of resources (such as CPU, RAM etc.)

- The system shall have facility for presentation/bulk display/search page as well as export in agreed formats.

- The system shall support GUI reports for examining the utilization of the resources such as Port, Link etc. The system should be able to provide link and ring utilization information.

- The system shall support creation of Virtual Network Elements (VNE) and virtual networks for representing the 3rd party network elements and network respectively. In addition, it must also support addition of inventory to the VNE/Virtual network to provide the end-end view of the circuits passing through 3rd party networks.

- The system shall provide facilities for creating custom grouping of available network elements in to different maps.

- The system shall allow performing renaming of trails on bulk basis as well.

- The system shall accept the source and destination ports of the ring to be discovered.

- The system shall have the capability to trace the entire ring on best effort basis and present the same to the user for confirmation. The system shall store the traced ring in the database after user confirmation.

- The system shall allow the user to modify the traced ring during the discovery process.

- The system can get the intermediate ports as input wherever there are more paths and complete the discovery.

- The system shall present the complete ring in tabular and graphical form in the user interface during the discovery process.

- The system shall present the consolidated link utilization report, ring utilization report and drop traffic reports for each discovered ring

- The system shall be able to provide a list of all Network elements with respect to all the Network Management systems that are managed by the system.

- Application shall facilitate Role based access and shall support 100 Users; 50 concurrent users.

- The system shall have the capability to discover and model the Ethernet Layers.

- The system shall have the capability to add additional parameters or attributes to the discovered data through a GUI to enrich the discovered inventory.

- The system shall have the capability to interface with 3rd party U-NMS and automatically reconcile the re-discovered data.

- The system shall have the capability to provide the discrepancy reports comparing the discovered data with the previous discovered data or comparing the 3rd party U-NMS system .

- The system shall have the capability to make changes in the 3rd party system based on discrepancy identified.

- The discrepancy identification, reporting, correction/deletion shall be workflow based and shall require user approval at various stages.

- The system shall have the capability to expose the discovered data through standard NBI e.g. TMF 814 etc. to external 3rd party systems

- The system shall have the capability to expand along with the network. The system shall be able to accommodate new vendor, network growth based on network elements, new device types etc. in the proposed system.

- The system shall be scalable vertically and horizontally based on growth in the network

- The system shall have the capability to integrate with Assurance and Fulfillment Systems to provide enriched Inventory.

- The system shall discover synchronization status of all communication equipment (as applicable) and display in GUI view indicating the synchronization status of each node. The system should discover the sources (at least primary & secondary) and display. The system should also discover & report nodes, which are discordant or running on internal clock.

- Real time inventory and bandwidth utilization status & reports (vendor wise, node wise, section wise, ring wise, region wise, technology wise and for complete network) shall be provided as per the frequency to be decided or whenever required.

- Discovery and Inventory (Passive):

    - The system should be capable of monitoring passive inventory (inventory in stores, issued to contractor for deployment or in transit etc.). Passive inventory needs to be manually discovered. As part of initial Inventory loading to the system, the contractor shall be responsible to consider all the existing Network Inventory for building database and configure the same and correlation of services with respect to allocated Network Services and Network resources.

    - The system should be capable of keeping audit trails of changes in inventory system.

    - The inventory system shall be capable of showing up to date (recently) discovered data in GUI in sync with earlier discovered data.

    - There should not be any dependency on data availability during stitching post discovery.

    - System should have capability to reserve paths for expected services for which preliminary approvals have been done.

#### 2.4.1.2 Design, Assign, Activation/Provisioning, Configuration and Re- Engineering

- The purpose of Provisioning System is to enable process activation of new services in the communications networks from a central location. A User enters the necessary information into system. Provisioning system delivers it further to the right network elements, after which the services are activated. Provisioning system shall interact with network elements or NMS for the provisioning. The time taken for E2E configuration & provisioning from command to execution including data pulling from multiple NMS and final execution by U-NMS shall be as per Annexure.

- The provisioning system shall interface with the inventory management system and update service and network inventory.

- The system shall ensure that the requested service is provisioned on the required network elements/NMS.

- For an end-to-end bandwidth request, the provisioning of resources shall be done in a manner so as to optimize the path and minimize fragmentation of bandwidth.

- The provisioning system must be capable of provisioning a working path and protection path. Switching to protection path in case of failure of main path shall be automatic and switching time shall be as per annexure.

- The bandwidth provisioning system shall automate the end-to-end provisioning for a given source and destination for the entire Communication network hierarchy.

- The bandwidth provisioning system shall have the capability to perform pre-activation validation

- A batch interface shall also be supported for service provisioning requests.

- The proposed system needs to interface with NMS/network elements belonging to different OEMs, supporting different interfaces in the future also.

- The system should be capable of giving multiple options & set rules for selecting specific path & 2nd best possible path for provisioning.

- The system shall log service provisioning information such as: Date of Request, Time of Request, Type of Request, Status of Request, Request Id, Requester Details etc.

- The system shall assign processing priorities to provisioning requests based on origin and / or destination.

- System shall be able to operate in centralized or de-centralized mode, i.e. the provisioning shall be performed from a central location under Centralized mode requirement and if necessary the provisioning for a particular region / location can also be performed by any user from that particular region / location.

- The system shall support the time component along with any of the dates so that it shall make possible the activation of a service at a particular time and date.

- There shall be a front end to monitor the status of the requests and any errors in processing.

- All the activities happening through the system shall be tracked and a history shall be maintained at least for 3 months online in system & 3 years in archive mode.

- The offered system shall be configurable & customizable.

- The provisioning system shall support rollback in case the activation fails.

- The provisioning system shall support roll back to revert back to the earlier status which shall also make necessary changes in underlying network as well. User should be able to define specific roll back points. There should be facility to configure the number of attempts and the frequency of attempts before rolling back the activation process.

- The system shall be able to support establishment of user groups, and permissions to restrict certain users to specific provisioning activities.

- The system shall send provisioning transactions to the NMS/EMS/NE in the real time

- The system shall support field validations during provisioning input.

- The system shall support automatic bandwidth grooming feature across multiple Networks.

- The system shall facilitate feasibility study for providing a circuit of a particular capacity between two end points and also block the network resources for a configurable time period & export API’s for external applications too.

- The system should support path computation and Circuit Layout Record (CLR) generation for path activation, with or without constraints like Ring diversity or Route diversity or the combination of ring or route and any existing circuit.

- System should be in a position to carry out the Auto deactivation and activation in a manually planned as well as in a phase wise manner.

- The system shall facilitate identifying Hanging Circuits in the Network. Such circuits shall be identified and reported to the user.  On confirmation from the user, the hanging circuit shall be deactivated.

- The system shall be able to flow-through provisioning and activate network devices & services in a multi-vendor EMS/NMS/Device landscape to support “flow through service activation”.

- On successful provisioning, the system shall update the inventory database so that the resources are not considered again for further provisioning.

- The system shall support concurrent provisioning to various NMS/EMS.

- The system shall propose various path options  for different services between two locations or NEs – shortest, least cost, minimum delay and optimized path based on the following:

    - Cost

    - Rings count & Hop Count

    - Bandwidth Available

- The system shall provide capability to a user to be able to reject the best path computed/proposed by tool and to select/view from alternative options.

- The system shall provide GUI to view the designed end-to-end circuit/service before activation in network.

- The system shall support all type of planned network changes.

- The system shall provide the list of circuits/links/services, which are pending for provisioning.

- The system shall support upgrading/downgrading the existing circuit.

- The system shall support creation/deletion/modification of NE level constraints during activation.

- The system shall highlight dropping and/or capacity constraints if path computation failed.

- The system shall consider the card capacity rules during provisioning.

- The system shall support creation/deletion/modification of card capacity rules.

- The system shall support topology based path computation.

- The system shall support bulk provisioning of more than one circuit.

- The system shall provide capability to do ring/link optimization by checking free ports in same node/card and suggest possible optimization & take action accordingly.

- The system shall support creation of business & global rule with admin approval.

- The system shall provide Network planning & capacity optimization tool to study the following

- Present network scenario for network understanding

- Traffic forecasting for based on past trends.

- Network planning for fulfilling present services requirements.

- Exercising different options for network study

- Simulation with real time network snapshots for planning and optimization function in Testing and Development environment.

- For Planning and Optimization activities, the proposed changes have to be      implemented in Test & Development environment before deploying in production.

- Tool shall be deployed at main CC

### 2.4.2 Service Assurance

#### 2.4.2.1 Fault Management System (along with RCA, Service Impact Analysis & Network Impact Analysis)

- Fault Management System shall be implemented for the complete Service fulfillment module of the Communication System under scope.

- For the purposes of this document, an event is defined to be an unsolicited message from a network element and an alarm is defined as a type of event that indicates that there is some kind of fault on the network element that emitted the event.

- The System Fault Management solution shall provide network engineers a global view of their networks, and enable them to activate management functions and operations from single or multiple workstations.

- The FMS window shall display end to end circuit diagram in a graphical fashion highlighting the affected section.

- Any fault in FMS window should be graphically represented into other modules such as Discovery, etc. i.e. if there is any fiber cut in the network, affected section should turn RED into the graphical topology/circuit view.

- There should be no constraint on no. of users that can be created on FMS window.

- User privileges and rights should be decided as per requirements of Employer. All activities carried out by any user should be captured in the log.

- The System shall provide facilities that enable the states of services and bearer circuits to be monitored.

- The System shall enable individual services and circuits to be mapped to the network facilities that carry those services and circuits.

- The System shall provide a function that enables faults that occur in the network to be related to the services and circuits that are carried by faulted facilities.

- The System should provide a high-performance engine to meet the requirement of the integrated alarm system, which can guarantee the normal running of the integrated System especially when the event storm occurs in the network.

- Alarms arriving at the System shall be transformed into a common format prior to processing by the System. The System should use the common alarm format in all internal System data stores, and in engineer displays, so that external applications that need to process alarms will only have to deal with a single format, and operations staff will see only one representation for all alarms from all network element types.

- The common alarm format supported by the System shall contain at least the following information:-

- Event type.

- Managed object identifier.

- Date and time of alarm emission.

- Perceived severity.

- Probable cause.

- Notification identifier or correlated notification identifier.

- Specific problem.

- Label / Native EMS Name of the Managed Object

- The System shall provide a comprehensive alarm correlation facility which shall be used for following primary purposes:-

  - To determine the root-cause underlying sets of alarms and report the root-cause as a single alarm.

  - To assist in reducing the number of alarms seen by engineers to the minimum necessary to effectively manages the network.

  - The correlation function shall correlate large number of alarms to identify the underlying problems affecting the network equipment.

  - The function shall be used to automate network management tasks. In particular, it shall be used to perform high-level automated actions for Alarm filtering, Alarm aggregation, Alarm enrichment, Root cause analysis and Service impact analysis.

- A complete, practical and high-efficient fault association analysis system should be established to meet the network event correlation requirement. Perform automatic association analysis to intra-network or cross-network faults through establishing an association model; assist the network maintenance personnel to correctly analyze and locate the reason for fault events in the shortest period; and establish the association between NE faults and service faults. Thus, the degree of influence on the service can be known in the shortest time and the influence state of service faults can be rapidly located through the association analysis engine.

- If network events occur, the system should be able to implement the association between these events and the asset/inventory management system in real-time.

- The system shall obtain the related equipment asset/inventory information and related operation personnel information, add the inventory information into the alarm information and display the contact information in the FMS window. Thus, the monitoring personnel can timely notify the related personnel of these faults and the operation personnel can perform troubleshooting rapidly.

- Working together with the related external network association model database, the system should be able to analyze and locate the cross-network alarm for intra-network and cross network faults.

- Sending a message (by e-mail or SMS or PUSH notification on mobile App) to notify maintenance personnel about the fault.

- During network build activities, such as constructing a new trunk route or provisioning a new circuit, alarms may be raised that are irrelevant to the proper functioning of the network. These alarms may be referred to as “build alarms”. The System shall provide facilities that will enable it to identify build alarms and suppress them.

- The System should enable engineers to request suppression of alarms from a particular managed object, or a group of managed objects or an entire managed network element. Alarms from those objects that are marked as “suppress” should be logged but not passed on for handling.

- The System shall be able to recognize duplicate alarms by comparing incoming alarms to those already in the current problem list for the reporting object, based on one or more alarm attributes (for example, object name and notification identifier), and automatically suppress such alarms.

- The function shall allow resynchronization of the System alarm status to the current status of the managed equipment.

- The system shall generate alarm for any synchronization issue. It should also report for services affected due to synchronization in network.

- It shall implement a remedy that eliminates any alarm status discrepancy that may have occurred during operation between the alarm status as presented in System and the real equipment status

- Alarm resynchronization may be necessary in situations such as:

i. Equipment failure preventing alarm reporting (for example, disconnection, power failure, hardware defects). ii. Mediation device failure preventing alarm reporting. iii. Data communication link failure. iv. Equipment registered for the first time, but starting with one or more initial alarms. v. 	Human errors in operation of equipment or System

- There is a requirement to log alarms at the alarm-handling level. The alarms saved shall be used for statistical analysis of alarm handling behavior, but they may also be used for SLA dispute resolution and may be kept for 7 years.

- The function shall handle ISO-formatted alarms (notification events defined in the ITU X.733 & X.736 Standards):  Communications Alarm, Quality of Service Alarm, Processing Error Alarm, Equipment Alarms and Environment Alarm.

- The function shall handle both notification type events (notification events defined in the ITU X.733 & X.736 Standards) and configuration type events (configuration events defined in the ITU X.730, X731 & X.732 Standards) raised by equipment or applications.

- It shall provide real-time monitoring and notification to allow engineers to handle alarms as they arrive.

- It shall support collection, filtering, recording (logging of the actions performed on the alarms), storage, and correlation and management functions.

- The stored alarm records shall be made available to, and managed by, other System applications in real-time.

- The “terminated” alarms shall be exported to a database for further user-defined processing.

- The System shall be able to automatically clear an outstanding alarm when a corresponding clear-alarm is received (corresponding means that the managed object name and the notification identifier are the same in both the alarm raise and the alarm clear, and that the clear was emitted temporally after the raise).

- The U-NMS shall monitor its connections with EMS/NMSs and Network Elements, and raise an alarm if a connection fails. Such an alarm should be automatically cleared when the failed connection is restored.

- When a connection to an EMS/NMS or network element is restored after having been lost, the system shall initiate a resynchronization operation with the EMS/NMS to refresh the alarm states held by the system. The alarm reported during resynchronization shall be reported by exception.

- The system shall support configuration of threshold for data polling (alarms) to make sure CPU utilization is not exceeded the permissible limit, because data polling keeps on consuming CPU as the alarm count increases.

- The System shall enable engineer-initiated resynchronization of alarms with selected managed objects, network elements or EMS/NMSs.

- The System shall support at least the following alarm states (or their equivalents by other names): -

  - Raised (an alarm has been raised but not yet acknowledged)

  - Acknowledged (an operations staff has acknowledged that they have seen an alarm).

  - Handled (handling of an alarm has been started).

  - Cleared (the condition that caused an alarm to be raised has been cleared).

  - Archived (an alarm has been archived and is eligible to be purged from local storage).

- The System shall support multiple alarm-display domains. It shall be possible to apply filters to each alarm-display domain so a given domain shows only a selected subset of the total list of outstanding alarms.

- The System shall support a state-change operation to bulk of alarms (for example, if 10 alarms are selected and the engineer invokes an acknowledgment operation, then the states of all selected alarms should be set to acknowledged).

- Some network element types emit certain alarms that are outstanding only for a short period of time (typically less than five seconds, but the period can be longer or shorter) before a corresponding clear alarm arrives. These alarms are called “fleeting alarms”. The System shall provide facilities that will enable it to identify fleeting alarms and suppress them before they are passed to alarm handling.

- The System should maintain a “master alarm” for each managed object reporting fleeting alarms. The master alarm should contain a count of fleeting alarms received from the reporting object, and the count should be incremented each time a new fleeting alarm is reported by that object

- Each alarm-display domain shall be implemented as a Graphical User Interface (GUI) that is intuitive to use and will require minimal engineer training time.

- The alarms displayed in all display domains shall be color coded (customized as per employer requirement) on the basis of perceived severity.

- Engineers should be able to define their own individual set of data that is to be reported against alarms (for example, some engineers may want to see the additional text of alarms, while others may not).

- Map display, with a top-level summary of the current network status in a selected geographic area. The colors of the icons shown on such a display should reflect the current worst alarm status of the underlying elements. Initiating an action against an icon should cause a “zoom-in” to show progressively more detailed views of the individual lower-order entities that comprise the icon.

- Root-cause domain, in which a selected set of current root-cause alarms is displayed in tabular form. Selecting an alarm and invoking an action against it should show the alarms that contributed to the raising of the root-cause alarm.

- Service-state domain, in which the states of a selected subset of services are displayed. Invoking an action against an alarmed service should show the alarms that contributed to the service being alarmed.

- Circuit-state domain, in which the current state of selected (generally high-speed) bearers is displayed. Invoking an action against an alarmed circuit should show the alarms that contributed to the circuit being alarmed and the services that are affected.

- The System shall enable engineers to append one or more notes to a selected alarm or group of alarms.

- Engineer notes should be able to be long enough to contain substantial amounts (minimum 500 words) of information that may be passed between groups during fault resolution.

- Customized dashboard should be available indicating No. of ring failures, Node isolations, etc. to present the status of services based on fault and performance data available in U-NMS.

- The system shall be able to classify the services as fully affected or degraded based on the shape of the circuits

- At a given point of time, the system shall be able to list all affected or degraded services in a separate UI with their corresponding root cause alarm

- The system shall be able to show all the lower order trails that are affected when the corresponding higher order trail has failed

- The system shall be able to list the services for every topological link or network element that will be affected or degraded when this element goes down

- The system shall be able to update the results of SIA while receiving the faults from the network

- The System Notify Function shall support manual or automatic forwarding of notifications via SMS, email. It shall support forwarding of selected alarms to individuals based on configured notification settings.

- The system shall take in to consideration all standard protection mechanisms while computing the RCA.

- The system shall be able to modify the RCA results on receiving every/new alarm from the network.

- The system shall have the capability to handle a minimum of 1 million alarms per Day with an average alarm rate of 60 alarms per second and peak at 200 alarms per second for 1 minute.

- The system shall be able to compute the RCA and related SLA within 3 minutes from receiving the alarms for at least 95% of alarms received.

- The System shall have the capability to simulate an alarm in the database and identify the related services, which are affected based on the alarm raised.

- The system shall have capability to correlate and display the relationships across Root

Cause and Impacts as a hierarchy across the network / service objects as shown (but not limited to) below:

i. Correlation within SDH Layers - The system shall have the capability to correlate the impacts of failure of one of more of the following SDH layers to other SDH layers riding over them

      - STM-n Links to VC4

      - VC4 Server Trails to VC12 / VC3 Trails riding over them

ii. Correlation from SDH to EoSDH layers - The system shall have the capability to correlate the impacts of failure of SDH Layer to the EoSDH VCG Server Trails encapsulating them

iii. 	Correlation within EoSDH Layer - The system shall have the capability to correlate the impacts of failure of GFP/VCG Layer to the Ethernet Services riding over them

iv. Network to Passive Objects Correlation – The system shall have the capability to correlate the impacts of failures of the Passive Infrastructure Objects to the

Network Objects using such infrastructure

      - Cable to Link failures

      - Site / Location to Network Element Failures

      - Auxiliary system alarm

- Integration with Trouble Ticketing (TT)

  - The system shall support automatic/manual creation of Trouble Ticket for Problems / Root Cause Failures identified.

  - The system shall have the support to publish the SIA & NIA list of a Problems into its respective Network Failure Ticket

  - The system shall have support for manual Creation of  Service Incident Tickets in a user-friendly manner with minimum inputs from user

  - The system shall have facilities for automatic association of the Service tickets to its associated Network Ticket

  - The system shall support automatic/manual resolution of Network Trouble Ticket on clearance of Network Problem

  - The system have facilities for user-approved auto-ticketing, i.e. Interrupt Auto

Ticketing process and put ticket creation on hold till user confirmation

  - There should be mechanism to define workflow for different tickets types & user assignments.

- Consolidated Fault management system should enable operators to Identify hot spots and frequently occurring events with guided search based on best practices. The search should be based on key words and should fetch data from real time as well as historical events for empowering operators with relevant and quicker Root Cause Analysis.

- The system shall have report generation facility for RCA and alarms elementwise, link/service wise/ port wise etc.

#### 2.4.2.2  	Performance Management System (PMS)

- Performance Management Tool shall be agnostic to technologies and vendors.

- The System shall collect performance data from all network elements that support performance data production, but collection shall be able to be turned on or off per network element or per managed object (if supported by an EMS/network element combination).

- The System should allow performance data collection schedules to be defined per network element or per network element type or per EMS, with the schedules able to be programmed by operations personnel.

- By default, 24-h Customer’s performance data shall be collected from all collection enabled network elements every day, but operations personnel shall have the ability to select 15 minutes performance data collection for nominated network elements, with a correspondingly shorter collection period.

- Some EMS/NMSs do not support real-time collection of performance data: collection is run as a batch task on the EMS system. The System should pick up such performance data using some mechanism such as ftp or alternatively may collect performance data directly from NEs.

- The System should poll the PM data to be collected from the EMS/NMS for the PM Points (Layer Rate/Location/Granularity/Parameter) including all the KPIs supported by the EMS/NMS for all the enabled ports (PTP-Physical Termination points)/CTP Circuit Termination Points) at regular scheduled intervals.

- The System should raise a critical alarm if a performance data collection operation fails.

- The system should allow configuration of threshold for direct poling via NE to make sure CPU utilization is not exceeded.

- The System should enable performance thresholds to be set on a per managed-object or per-managed-object-type basis, with hourly, daily and weekly settings available.

- The System should raise a performance alarm if a nominated performance threshold for a managed object is exceeded and the Tool shall have capability to forward a Threshold Crossing Alert (TCA) to the appropriate system.

- The System should be able to collect service-performance information for service level management purposes.

- The System should be able to collect network-performance data that can be used by engineering groups for planning and maintenance purposes.

- The System should be able to detect pending network problems that is signaled by network elements in the form of error reports.

- The System shall provide facilities that will enable the performance of individual services and circuits to be monitored.

- Customized reports based on service, link/circuit, region, technology, vendor etc. should be possible.

- If User selects any OEM, no. of erroring ports should be displayed. On selecting the port, PM data should be displayed and if required may be compared with previous day.

- Comparing of PM data of ports/service/circuits etc. should be possible in the same window.

- Raw performance data (as collected from network elements) shall be stored online for a programmable time as per Annexure from the date of collection.

- In the future, the System may be required to pass performance data periodically to external data mining/warehousing applications. Bidder should describe the facilities that are available to export performance data to other applications.

- System shall provide a reporting capability that will enable Employer to create comprehensive performance reports from both a network and a service viewpoint, both as an aid to seeing failure trends, but also as an aid to network capacity planning.

- The System shall enable performance reports to be created in hard-copy form, or viewed via a web-browser interface. A suitable browser “plug-in‟ shall be provided to enable browser-based viewing of performance graphs.

- The System should enable inexperienced users to access pre-defined performance reports, with more experienced users able to derive new reports based on existing predefined reports.

- The System should enable suitably trained Operations personnel to define new reports and save the report definitions for other users to access.

- PMS should be integrated with various modules such as IMS, Discovery, FMS, RCA, etc.

- Performance management (PM) operations such as - enable PM, disable PM, set TCA, retrieve PM enabled entity, get PM reports - historic/current needs to be supported by the tool to perform PM operations on the network via EMS/NMS/NEs interfaces of various vendors. PM tool own operations shall include PM report generations - service/network, database management functions - archive/restore, user management.

- PM tool shall support GUI based reporting using Web Interface. The reporting capability shall be less than 10 sec processing time for every 1000 rows of data fetched for any type of report with 100 concurrent users accessing the PM tool. Web Interface shall support all PM operations directed towards EMS/NMS/NEs and tool own operations beside PM reporting. Reporting engine is key element of the PM tool where user needs periodic/scheduled and on-demand reports.

- The PM tool shall be highly scalable and reliable for its database performance, GUI performance, PM operations to EMS/NMS/NEs and scheduled reporting. Multiple operations shall be supported concurrently.

- The tool shall support the Offline and Online mode of operations. The online means it is connected to EMS/NMS/NE systems of various vendors. Offline means it is working on its own database copy. This will allow performance management statistics can be generated offline when needed and online version is used when database synchronization is required between PM tool and EMS/NMS/NE systems.

- Tool shall have built-in intelligence of service/ circuit end to end connection detail i.e.

Port, NE ID along with path detail. The details shall be available by integrating with Inventory System

- Tool shall provide the ability to enable / disable performance monitoring on a per Port, Card, NE & services basis. It shall also provide the ability to enable/disable monitoring on a bulk basis.

- Tool shall have not any limitation on TPs (Terminating Points) for enabling of PM for 15min/24Hrs counters.

- Tool shall provide a facility of real time data extraction from NMS/EMS/NEs/objects.

- Tool shall report the events where immediate action is required, based on user defined threshold, on a real time basis

- Tool shall facilitate history PM report extraction, summarized by time –Hour, Day, Week, Month, Quarter, Year and by Property- service, circuit, location, Node etc.

- Tool shall have capability of exporting report in Excel in user defined tabular format & same shall be displayed graphically.

- Tool shall act as a Unified source of information for all performance related queries by the users. It shall support comprehensive set of performance reports for Multivendor equipment on one single platform at all layers viz. MS/RS/HO path/LO path/Ethernet etc.

- Tool shall have capability to retrieve and report performance-monitoring data both on request and as per schedule.

- Tool shall provide PM Report with Zero suppression, removing all the rows with complete zeros (rows with no data) so as to effectively present only non-zero rows.

- Tool shall provide option to integrate with Trouble Ticketing System and Power Level/Current parameter of SFP shall be reported to Ticketing System, before and after restoration of Cable Cut, Partial cut or any failures.

- Tool shall provide consolidated report of span loss for each section as compared to the designed parameters & reporting deviations, if any. It should also keep record of all old span loss (section wise) data in online/archive form.

- Tool shall provide Proactive Error Reporting/Trending for comparison of the vendor provided threshold value and the actual FEC error values observed on the network.

- Tool shall be capable of providing Report for all the ports in the network generating/detecting errors as per defined PM parameters.

- Tool shall provide analysis report of repeat cases (ports/services) on a user defined interval

- Tool shall be capable of providing report for trend analysis of performance on individual service/ circuit/ port.

- Tool shall have capability of service degradation correlation with the anomalies detected/reported at higher network level carrying the service. Tool shall also have capability of user defined correlation rules.

- Tool shall provide Service/Circuit Level Fault Analysis Report to identify the root cause of faults/errors occurring on a particular Circuit/Service id.

- Tool shall be capable of providing end to end service performance monitoring reports for individual circuit/service along with associated bandwidth, end points, node name etc.

- Tool shall provide compute the Service Availability based on the occurrence of the UAS for the PTP/CTPs associated with the service monitored for PM. The service monitored for PM shall be considered down (Not available) for the duration of UAS observed in the PMS.

- The performance monitoring system can be started/stopped ON Demand basis. There should be an option to keep default performance monitoring ON or OFF.

- Tool shall have ability to enable users to do audits by generating periodic reports on user settable specific parameters such as group of NE`s, circuits, services, ports, sites, operations regions and others.

- Tool shall enable limitation to access performance reports, based on the user rights.

- The system should be able to dump Performance data to an external system for external analysis purpose. User should be able to specify the period of the data to be dumped for a specific parameter for complete data as per industry best practices.

- The system should be able to generate reports for all performances in terms of availability of NE/link/channel/port/NMS/Server/Application/complete system delivered on all parameters.

## 2.5      Common Functional Requirements of U-NMS

### 2.5.1   Unified U-NMS Console (Common Reporting & Dash boarding System)

#### 2.5.1.1 Generic

- Unified U-NMS Console shall be single presentation layer across fulfilment and assurance stack. All applications such as Order & Inventory/Discovery Management, Configuration Management, Fault Management, Performance Management, Trouble Ticketing, SLA Management, Reporting and Dashboards etc. should be seamlessly interconnected and available in single window, single URL with single user authentication.

- Other than Unified Console, users will not refer to any other application window for any assurance and fulfillment, reports and dashboards or any other application.

- Unified console should support single window for Alarm Management, Root Cause analysis, Service Impact analysis, Auto and Manual Ticket creation, Ticket update, ticket resolution, SLA calculation and escalation, Inventory/Discovery view and update, Order Management, Performance Reports, report creation and execution, dashboard creation, update, automatic refreshing etc.

- The Unified console User Interface should be built on latest technology /version as on date of bid opening and should be rich in graphics and flexible for quick aesthetic changes.

2.5.1.2 User Management

- Access of different U-NMS applications has to be governed by user privileges in respective console/application and user shall only be able to access the applications he is authorized to access, along with defined role in the application.

- Administrator should be able to create, delete and modify users and their privileges.

#### 2.5.1.3 Integrations

- The Unified Console should be able to integrate on standard protocols/APIs with multi party U-NMS/other CC and related systems for common presentation layer.

- Console should have built in plug-ins for quick and easy integration with 3rd party databases, applications, dashboards (View import).

#### 2.5.1.4 U-NMS Console on Mobile/Handheld

- It is required that centralized U-NMS system should be fully compatible with different types of mobile/handheld/tablet devices offering functionalities of Dashboard, Reports, Tickets, and Alarms.

- The mobile/handheld views should be fully customizable to meet specific end user requirements as finalized during detailed engineering.

- All the functionalities of U-NMS console should be seamlessly available on smart mobile phone with Android, iOS and Windows platform, without any additional software or hardware on server side.

- The users interface for mobile devices has to be pre designed with proven deployment references in the similar environment.

- Sufficient control over user / device specific access (like MAC /IP range based access etc.) of console on mobile application.

- U-NMS applications should having a separate tabs in mobile view of U-NMS Console, and all functionalities of each application should be available within mobile view also.

- U-NMS should support PUSH notification for the alerts as desired by Employer.

#### 2.5.1.5 Dashboards

- Dashboard shall be integrated with all applications and shall be extendable to systems such as Trouble Ticketing, Service Provisioning, Service Activation, Inventory System etc. as required.

- Dashboards shall automatically update at least once every 5 minutes and customizable as per needs.

- Dashboards shall be drilled down to specific network and service component.

- Allows modifying and creating new views in a few clicks with the View Designer and make changes available dynamically across the production environment.

#### 2.5.1.6 Reporting

Reporting system should be capable of producing following reports in mutually agreed formats such as Excel/Word/XML/Pdf etc.:

- Real time inventory and bandwidth utilization reports (Vendor wise, Node wise, Section wise, Service wise, Ring wise, Region wise, Technology wise and for complete network).

- Network MTTR/Fault Reports: Yearly, Quarterly, Monthly, Weekly, Daily(Vendor wise, Node wise, Section wise, Link wise, Service wise, Ring wise, Region wise, Technology wise and for complete network).

- MTTR violation Reports.

- Circuit SLA Reports: Yearly, Quarterly, Monthly, Weekly, Daily.

- Service & link/circuit wise SLA Violation Report: Yearly, Quarterly, Monthly, Weekly, and Daily.

- Service & link/circuit wise Performance Reports.

- Percentage, Chart and Graph Options for all Reports.

- Management Information System (MIS) Reports on Capacity Utilization, Service Quality etc.

- Adequate security of the extensions (as mentioned above) through internet shall be ensured.

- The reports should be extractable in CSV, Excel & PDF form or any other mutually agreed format.

- Reports shall be made available in the desired format on the website designed for proposed U-NMS

#### 2.5.1.7 Fault Analytics and Statistics

Fault Analytics and Statistics provide an existing set of KPIs based on collected and archived alarm information.

The common U-NMS console should also offer statistical analysis of real-time and historical data such as alarms, trouble tickets etc. for the purpose of trend, seasonality and CC surveillance efficiency.

The system must offer set of inbuilt statistics such as:

# 1)  Network Health Dashboards

i. 	Number of alarms

ii. 	Number of alarm occurrences

iii. 	Number of Known Managed Objects

iv. 	Cumulative Alarms In Fault Duration

v. 	Distribution of alarms per Optical Carrier (OC) and per domain

vi. 	Top 10 Failed or Problematic Equipment Classes

vii. 	Top 10 Failed or Problematic Equipment Parent Entities

viii. 	Distribution of Affected Objects (AOs) per severity, per alarm type

  - Top 20 probable causes

  - Performance Comparison make wise (Tejas/ECI/Fibcom etc.)

  - Comparative State wise availability

  - Comparative AMC performance vendor wise

# 2) Network Management Health Dashboards

i. 	Average Event/Alarm Collection Duration

ii. 	Average Event/Alarm Acknowledgement Duration

iii. 	Average Event/Alarm Close Duration

iv. 	Number of escalated alarms.

- Top 10 Equipment Classes, in terms of the average and cumulative In Management Duration

- Alarm Characteristics Distribution

- Trending and deviation

- Vulnerable area identification

# 3) Fault Management effectiveness

i.     Alarm reduction percentage (w.r.t previous three months record)

ii.    Automatic TT creation percentage

iii.   The percentage of raw network events filtered out

iv.   Percentage of post filtered events reduced by the similarity function

v. 	 Percentage of post filtered network events, reduced by the similarity function, correlated by the Root Cause Analysis function

# 4) Service satisfaction ( for all types of services, eg. E1, Eth, 64Kbps, VLAN, VSAT, etc.)

i.   Mean-Time-To-Resolve Service Impacting Problems

ii.  Mean-Time-To-Resolve Non- Service Impacting Problems

# 5) Operations responsiveness

i.  Mean-Time-To-Create a ticket

ii.  Percentage of problems resolved by due date

iii. Mean Service Problem Resolution Time

iv.  Mean-Time-To-Resolve Service problems

v. Mean-Time-To-Resolve Network Problems

# 6) CC staff effectiveness

- CC Full Time Equivalent (FTE) Efficiency

- Percentage of problems by cause type

- Percentage of maintenance time used for repair

iv. 	Percentage of escalated alarms

2.5.2 Trouble Ticketing & Web Portal System:

The regional and state CCs shall operate, monitor & manage their respective Communication Network.

## 2.5.2.1 Trouble Ticketing System

- Effective CC operations shall be established based on the IT Infrastructure Library (ITIL) v3 and Industry best practices.

- The following are the processes that will be tracked part of the trouble ticketing services in this section:

  - Incident Management (Service Monitoring and User Complaint)

  - Complaint Management

  - Problem Management

  - Change Management

  - Knowledge Management

  - Release Management

- Alarm management Tool will continuously monitor the Network for Events. Filtered critical event shall be reported as a ticket to CC who shall acknowledge the same for resolution.

- Configurable rules like routing and auto assigning will be supported by the Ticketing system.

- The System shall notify the network alarm to create a Network or Event Trouble Ticket (TT) automatically. Network Alarms shall be correlated and prioritized with severity levels to create or update a TT. TT shall be notified to the CC who shall accept it to service. Automatic Event TT creation shall import the properties of the alarm such as type, cause, network, network resource, source (managed object where the Event/Alarm occurred).

- The TT should provide the ability to define priority, severity and impact for the tickets.

- The Trouble Ticketing System shall be a web based ITIL (IT Infrastructure Library) certified system with minimum five analyst to handle incident management and change management.

- The proposed trouble ticketing system must have a valid ITIL v3 certificate for above functions.

- The system shall create an Incident ticket due to the service/circuit outage or degradation (Incident ticket shall be marked Service wise). SMS alert facility for service link down shall be deployed.

- The system shall update the incident ticket upon more alarms on the same service. Service level RCA shall be applied prior to ticket creation to avoid flooding of tickets and thereby differentiate & identify multiple incidents appropriately.

- Ticketing system shall support standard and custom reports of tickets, based on SLA, Ticket statistics and ticket execution for different ticketing queue.

- TT escalation should be supported for SLA “about to be breached” and “SLA breached” cases for all severity and all high and critical tickets.

- Ticketing system shall show ticketing analytics that will result SLA and severity based ticket resolution analytics report.

- Format of Trouble Tickets (TT) shall be configurable in a flexible way. Several formats of TT should be usable in parallel.

- TT shall be generated in one of the following ways:

- Automatically by Resource Trouble Management based on an alarm in the network

- Automatically based on predefined schedules for planned maintenance activities

- Manually by Users of the CC and authorized personnel.

- It shall be possible to configure filters that prevent the automatic creation of TT.

- Every TT must have an owner. Ownership of a TT will not change during its lifetime unless ownership will be manually assigned by authorized personal. TT owners shall be role or function based.

- Owners (roles, functions) must be linked to users (individuals).

- The solution shall manage the automatic hand over of TT from one user to another (e.g. in case of shift changes).

- The solution shall provide freely configurable roles. The supplier shall specify the default roles supported by the system.

- The System shall support manual and automatic escalation within set levels and notification of trouble tickets both internally and externally (e.g. to vendors and other carriers) based on:

    - TT elapsed open time

    - TT remaining open time

    - Resolution status

    - SLA thresholds

    - Others

- The escalation process must be user configurable.

- The system shall provide views to tickets already existing for the service associated    with the user and thereby avoid duplication of incident tickets.

- The system shall allow modification of ticket on selected parameters.

- Inputs for trouble ticket shall be

          - Type of Failure:

          - Traffic Impact: Traffic affecting, Non-Traffic affecting

          - Severity: S-1 till S4 (Minor, Major and Critical)

          - Suspected Problem:

          - Affected Traffic:

          - Brief Fault Description: User will describe the fault (Text Box)

          - Documents: User can attach required Files

          - Submit:

          - Vendor Ticket Number:

          - Date:

          - Time:

          - Trouble Ticket Submitted By:

- CC will close the trouble ticket after resolution  & provide “Reason for Outage” RFO in case of service outages. Provision shall be there to rate individuals based on AMC performance.

- The system shall provide users acting on a TT (auto & manual) to annotate a message for the same. User with authorized privileges shall only be able to act on a TT.

- The system shall allow authorized users to resolve the TT. Operator shall provide the resolution comments while resolving the TT. TT shall be either Cleared or Cancelled while resolving the ticket. All resolved TTs shall be in CLEARED state. On receiving an automatic network alarm clearance, the alarm shall be correlated to update the TT that was created. On subsequent verification of the alarm the TT shall be updated as CLEARED.

- The system shall allow authorized users to choose multiple TT to resolve the ticket with the same resolution. (e.g. Tickets that are linked)

- The system shall provide option to close or re-open the cleared ticket on user confirmation.

- The system shall record all tickets OPEN/CLEAR/CLOSED and other WORKLOG activities such as acknowledgement etc. as TT history for Service Level/KPI computations and past data analysis. TAT (Turnaround Time) shall be calculated from the time of TT creation to its resolution.

- Concurrent ticket creation shall also be supported for simultaneous troubleshooting. Parent / Child ticket approach shall be allowed to support the same. Until all child tickets are closed/cancelled,  parent ticket shall not be allowed to closed

- The system shall track the ticket status based on a unique TT id.

- The system shall maintain the Known Error Database (KEDB) updated by authorized operators for tickets resolved with new design/solution. KEDB allows operators to look up the past resolution steps/solution design to resolve and fix the issue tickets.

- KEDB shall have creation and latest update/lookup dates. The system shall update the KEDB upon resolution of the problem with root cause and resolution steps taken.

- The system shall create problem tickets if the incident ticket does not resolve the root cause of the outage or degradation. Incident may have been resolved through an intermediate or workaround solution but the problem ticket shall be maintained as a new ticket and tracked for permanent resolution and avoid the reoccurring of the incident.

- TT logs shall be periodically purged from the database. (TT shall be purged on a yearly basis) from online system to Archive and to be kept for a longer duration at least for 3 years.

- The system shall provide Web based tabular views for the active tickets and past TT history (also includes Network / Service Alarm details part of TT information).

- The system shall provide a web based interface for users to create/update/close the tickets. The ticket should also be viewed/create/update from mobile App. PUSH notification should also be issued to respective maintenance engineer for rectification.

- The system shall allow user to configure TT views based on user define filter criteria.

- The system shall provide filtering, sorting and search utility to locate specific TT in the view pages.

- The system shall provide views for the KEDB and Problem tickets maintained in the system with filtering, sorting and key word search utility.

- The system shall provide summary counter view across all events/incident/problem tickets against severities. Requirement of summary counter view is to have KPI's to be reflected on dashboard/ console reflecting the summary in terms of count of open Priority 1, Priority 2 tickets and so on and in progress   Priority 1, Priority 2 tickets and so on.

- The system shall provide ticket views/operations that shall correlate the tickets that are linked.

- The system shall provide users to export the TT data to XLS or PDF and any other required format.

- Message system broadcast - Email communication and Message Board on the Portal part of trouble ticket updates shall be supported

- The system Email System shall be linked with TT functions for auto or manual notifications.

- The system shall provide separate view or color coded indicators to track a ticket that has violated the KPI for TAT on ticket resolution.

- The email and SMS notifications triggered from the ticketing system should reach the  Users as per escalation matrix within less than 60 seconds.

- Total time for Ticket creation after submission should be less than 10 seconds.

- Average report generation time should be less than 30 seconds.

- For qualified search criteria, search results should be fetched within stipulated time of less than 20 seconds for each 100 results.

2.5.2.2 Web portal system:

POWERGRID intends to provide a web portal for its Users with proper security in place to monitor status of their services and availability parameters. User should also be able to raise ticket for issues in their services/circuits and can get update on their tickets. SMS & Email alters shall also be provided to the User for update of ticket status and on resolution of their tickets. Contractor shall supply, install, commission, Integrate & test required solution including application Software, OS & hardware for implementation of the same under the proposed solution. The system shall have at least following capabilities:

        - It should be able to handle 200 concurrent users.

        - The user shall be allowed to login only after authentication of credentials provided to him.

        - The solution shall be integrated with relevant UNMS modules, AAA/radius server, Trouble ticketing System, Service Assurance solution etc. for publishing routine availability & performance report of the communication system to be finalized during detailed engineering.

        - The solution shall be housed in appropriate zone within the CC to ensure all security aspects including data & application security as per DOT guideline.

        - All reports as desired by Employer should be available on Web portal.

        - Domain to be procured by the Employer and integrated with the U-NMS system, however, the Web portal should be designed and maintained by the Contractor.

2.6 	Generic Integration Requirements:

2.6.1      Integration Points: The Bidder must ensure that UNMS application supports standard internationally acceptable formats, protocols & open standard interface for ensuring the integration with other Employer’s systems such as GIS, ERP & SD-WAN (if required by Employer) at a later date but before the expiry of UNMS contract.

## 2.6.2     Future Readiness

- UNMS will be able to integrate and assure a range of Network Function Virtualization (NFV) solutions from a range of vendors

- Alarm, Auto TT and provide performance data on virtualized network functions as currently done for traditional physical network elements

- Integrate with NFV solution to automatically manage the NFV platform to add / remove capacity dynamically

- Out of box integration with NFV Orchestrators

- Out of box capability to correlate hardware and software alarms to root cause i.e. SD card/SSD/ HDD failures.

- Automate resolution of Virtual Network Functional issues using automated workflows.

- Out of the box support for NFV Service elasticity scale-in/scale-out.

## 2.6.3      User Management

The User Management System shall provide features primarily that consist of the following services:

- Authentication

- Authorization

- Administration

- Audit

### 2.6.3.1   User Authentication & Authorization

- The System shall provide an option for the newly logged in user to change his password and the user shall be forced to change the password first time. It shall also provide option to authenticated user to change password.

- Passwords shall be encrypted and stored in database and will not be stored in clear text.

- Strong Password techniques shall be employed as powerful password login mechanism.

- The System shall provide User account expiry date. It shall be set/modified to the required number of days, once the number of days set for the user account exceeds, the user will not be allowed to log in to system as the user status will be changed as "userExpired". Configuration for the userExpiry shall be enabled or disabled accordingly.

- The System shall allow User login to be enabled /disabled.

- The System shall provide Password expiry date and can also be set/modified as number of days after which the user status will be changed as "PasswordExpired". By default the password expiry is enabled and set for 90 days. Thus when the user tries to log in, then the message "Password Expired" will be displayed and user is allowed to configure a new password.

- The System shall provide a mechanism in which continuously failed login attempts will be detected and controlled. Number of failed login attempts shall be configurable and will default to 5. After  5 failed attempts, the User account shall be locked. The process for unlocking shall be finalized during detailed engineering. The failure attempts  and unlocking of User account shall be logged in the user audit records.

- The System Admin with sufficient privileges shall only restore the user access further to failed attempts, and shall not automatically allow access.

- The System Authorization service shall control the access limits of the respective logged in users. Authorization shall validate an authenticated user's request and grant/deny him permission to perform a requested operation.

- The System Authorization level shall be extensible towards a fine gained security wherein the users shall perform the operations based on the data like location or department.

- The existing Communication nodes & EMS/NMS shall be integrated with AAA/RADIUS server being supplied under this contract.

- The System shall support integration with external user authentication systems with AAA, LDAP, Active Directory or Radius.

- The contractor may require to integrate with existing LDAP/AAA of Employer within its network else may provide separate servers to install these (AAA & LDAP) functionalities.

### 2.6.3.2    User Administration

- The System shall provide a Super User who shall administrate the system User Groups and its privileges. Super User shall be the system Security Administrator (System Admin).

- The system shall have role based access.

- The System Admin shall create User Groups as per the profiles with pre-defined privileges.

- The System Admin shall be able to administer user / password of users across all groups and privileges across all user groups.

- The System Admin shall have the rights to create users and administer username/password of User Group / Users. Users created shall derive its default privileges as per the User Group created by System Admin.

- The System shall support users belonging to multiple groups.

- The System shall be customizable towards multitenant architecture that allows distributing the secured user administration to select group(s) to administer users within their organization. The System shall support auto generation of password.

- The System shall be customizable towards Two Factor Authentication with OTP (One Time Password) support.

- The System shall send mail notification on key admin transactions like account creation along with first time password

### 2.6.3.3    User Audit

- The System shall provide facility to audit the authentication and authorization related information and stored in.

- Auditing shall monitor the selected operations performed by the user.

- The User Audit trails shall be logged and viewed by authorized security admin, it includes views of the current users logged in and past users logged in/out and the operations performed.

- All authorized operations that are performed are audited and logged in the audit tables.

- Any erroneous and suspicious activities like login attempt failures shall be logged and viewed part of audit.

- The system shall provide audit reports on the performed operations with it user information and time stamps.

## 2.6.4       System Security, Access Control Management System & Audit (CERT-In or other guideline as applicable)

- The process of networks Audit and certification must (performed by Third

Party/Parties) include following activities:

  - Network Architecture Security Review

  - Review/ update of security policies and processes

iii. 	Host security configuration review

  - Network forensics

  - Network Hardening

  - Network penetration test

  - Risk assessment

  - Actions to fix found problems

  - Any other required audit as per DoT guidelines, which has not been specifically mentioned in this document

- The proposed solution should provide secure administrator control, monitor and record privileged sessions including VNC, RDP, SSH, Telnet, HTTP/HTTPS, AS400 and Mainframe.

- The proposed solution should have the ability to support load balancing and activeactive High Availability (HA) out-of the-box to cater for current requirements and future expansion.

- The proposed solution should be able to prevent leap frog attempts, session continuous recording & ideal session time out.

- The proposed solution should allow defining roles or groups for user management. Roles should be customizable and pre-defined in system.

- The proposed solution should be able to support text searching for GUI session logs and records.

- The proposed solution should provide the capability to manage application credential together with access control, password management all within a hardened platform. The product's appliance supports all features: Password Vault, Access Management, Session Recording, Application to Application (allows dynamic password access from applications), etc.

- Solution should have successful reference able implementations.

- The product's appliance is highly scalable, supporting (for example) 3000 concurrent SSH sessions, 1500 concurrent RDP sessions, or 2000 concurrent connections of mixed SSH and RDP regardless of which form factor (physical or virtual) is used. The product adds scale by simply adding new appliance to a cluster.

- The product should work with industry standard third-party software or hardware such as Operating Systems, Databases, High Availability, Load Balancers, etc.

- Solution should provide real time alert for command line and GUI on back listed GUI actions or commands on target end points such as applications, server & command line. It should detect when violations of the rules occur and can automate action as a result including warning the user, logging off the session, as well as alerting when the event occurs.

- The audit shall be completed within end of every year during Implementation, warranty & AMC period. The report shall contains at least following:

  - Audit Report – Executive Summary: The vendor should submit a report to summarize the Scope, Approach, Findings and recommendations, in a manner suitable for senior management. Selected Bidder will also detail the positive findings (No Gap found) for various tests conducted.

  - Audit Report – Core Findings along with Risk Analysis: The agency/ bidder should submit a report bringing out the core findings of the audit/ testing conducted for network devices, security devices, servers etc.

  - Audit Report – Detailed Findings/Checklists: The detailed findings of the audit would be brought out in this report which will cover in details all aspects viz. identification of vulnerabilities/ threats in the systems (specific to equipment/ resources – indicating name and IP address), identifications of threat sources, identification of Risk, Identification of inherent weaknesses, Servers/Resources affected with IP Addresses etc. Report should classify the observations into Critical /Non Critical category and asses the category of Risk

Implication as VERY HIGH/HIGH/ MEDIUM/ LOW RISK based on the impact. The various checklist formats, designed and used for conducting the audit activity as per the scope, should also be included in the report separately for Servers (different for different OS), Network equipment, Switches, security equipment etc. Snap shots/ Output of any script /documents etc. from where the finding/ observations have been made shall be attached.

  - Audit Report - In Depth Analysis of findings /Corrective Measures & Recommendations along with Risk Analysis: The findings of the entire audit Process should be critically analyzed and controls should be suggested as corrective /preventive measures for strengthening / safeguarding the Telecom assets of POWERGRID against existing and future threats in the short /long term. Report should contain suggestions/ recommendations for improvement in the systems wherever required. If recommendations for Risk Mitigation/ Removal could not be implemented as suggested, alternate solutions shall be provided. Also, if the formal procedures are not in place for any activity, evaluate the process & the associated risks and give recommendations for improvement as per the best practices.

## 2.7 	Web User Management

- The System shall provide authentication of user credential over secured encrypted transmission over HTTPS

- The contractor shall supply required SSL certificates etc. for entire period of contract i.e. from implementation phase till end of AMC (1+6 years).

- The authentication verification shall happen on server side.

- The System shall support User Idle Time session time out for the web session if it exceeds a user defined (configurable) limit.

- The System shall provide logout that will close the session and close all cookies on the browser.

- The contractor shall be responsible for secure access of web portal from internet without any security threat and provide necessary infrastructure to ensure the same. If required separate hardware may be provided for providing web access from internet and restrict the data exchange from external world.

2.8 	Pre- Assessment of NMS/EMS Upgrades:

The system should be designed and implemented in such a way that the testing & development system for UNMS should have capability to assess & report the impact of base NMS-EMS software upgrade on integration with UNMS for any of the underlying Communication networks. The NMS-EMS upgrade shall be reviewed, tested & cleared by UNMS contractor before it is actually implemented in the underlying NMS/EMS system.

## 2.9 	SLA Management

The design shall be according to industry best practices and follow proper disaster recovery procedures and emergency response procedures in case of a disaster at the primary site. The Contractor has to provide 99.9 % SLA on the operations of the entire CC. Following SLA functionalities must be supported in SLA management system.

### 2.9.1 SLA Monitoring

- Solution should calculate SLAs values, compliance and service impact in near real time

- Solution should offer collection framework for ease integration with Trouble Ticket, Performance Management or other types of systems

- Solution should support update or exclusion of source raw data, collect these updates, and recalculate automatically SLA Values and statuses

- Solution should offer User Interface to monitor SLA compliance and service Impact in real time

- Solution should provide a User Interface to enter exclusions on SLAs

- Solution should provide a "Exclusion" collection framework for integration with external exclusion management system

- Solution should provide predefined "actions" to be triggered on threshold crossing or compliance change

- Solution should propose an Action Executor Framework to create customized action executor.

- Solution should provide a way to inset/update and exclude raw data from User Interface.

### 2.9.2    SLA Reporting

- Solution should provide a library of predefined reports

- Solution should provide user interface to allow creation of customized reports on SLA Data

- Solution should allow the Scheduling of report production

- Solution should provide reports in different formats (pdf, csv...)

### 2.9.3    SLA Portal

i.   Solution should provide portlets to integrate in any compliant portal to   allow SLA Display for end users.

ii. Solution should provide API to retrieve SLA Information

- Further details with respect to the specific functional requirements stated in the subsequent section. Basic features of SLA management shall be supplied on per service per circuit wise:

  - Circuit availability / Uptime

  - Circuit / Link / Service Latency

  - QoS related parameters like jitter , wander , Packet loss

  - IP based Traffic monitoring

  - Bandwidth/Network Usage etc.

2.10 	IT Setup:

An IT infrastructure is envisaged at each UNMS server location to enable publishing various applications such as Web portal System, Trouble ticketing etc. to be used by while on site. Other applications like DNS, Email servers etc. are also to be placed within this setup. Different zones shall be created for hosting different applications within this setup.

This setup shall be designed such that redundancy & replication of all applications shall be maintained with proper backup. The following components are to be included in this setup.

2.10.1 Reverse proxy:

To publish portal and applications on internet using reverse proxy server is to be supplied. The proposed reverse proxy server should have following minimum functionalities:

- Throughput - 5Gbps

- Ports required – 2x10GE + 4x1GE

- WAF (Web Application Firewall) capability

- SSL Encryption with SSL acceleration hardware

2.10.2 SLB (Server Load Balancer): SLB is required for managing redundancy between applications & database hosted at main CC & back-up CC. All the applications offered under this project shall use this facility subject to the application & database internal architecture failover design. The same shall be finalized during detailed engineering. Contractor shall size the SLB such that it should be able to cater the requirement of redundancy for all applications & Database supplied under this project.

Server Load balancers are not mandatory. Bidder can offer a Solution Architecture that meets the end objectives without Load Balancers. However, if the bidder proposes a Server load balancer it should meet following minimum specifications.

- The port density shall be as per implementation design finalized during detailed engineering & project execution considering expandability.

- Following Server Load Balancing Topologies should be supported:

  - Virtual Matrix Architecture

  - Client Network Address Translation (Proxy IP)

  - Mapping Ports

  - Direct Server Return

  - One Arm Topology Application

  - Direct Access Mode

  - Assigning Multiple IP Addresses

  - Immediate and Delayed Binding ix. IP Address Ranges Using imask

The Server Load Balancer (SLB) should support the below metrics:-

Minimum Misses, Hash, Persistent Hash, Tunable Hash, Weighted Hash, Least Connections, Least Connections per service, Round-Robin, Response Time and Bandwidth

2.11  Virtualization

Virtualization is not mandatory. Bidder can offer a Solution Architecture that meets the end objectives without virtualization.

However, if the bidder proposes virtualization it should meet following minimum specifications.

- Solution should include bare metal hypervisor with functionality of High Availability, Fault Tolerance, hot Add (CPU, Memory, Storage & Network), dynamic power management, storage and network IO control, VM level encryption.

- Solution should include the ability to add CPU and memory to virtual machines dynamically on the fly when needed, without disruption or downtime of working VMs for both windows and Linux based VMs.

- Solution should be able to identify, showcase, recommend and reclaim resources like powered-off VMs, idle VMs, orphaned objects etc. from the virtualized environment.

- Solution should show dashboards and generate or schedule reports on capacity utilization, performance management and standard compliances.

- Solution should be able to run scenarios to determine whether future workloads or expansions can be accommodated on the running virtualized environment.

- Solution should have an operations console that provides an easy way to perform monitoring and logging of the virtualized environment in order to quickly identify the root cause and troubleshoot issues.

- Solution should have the capability to provision and migrate the workloads to more than one public cloud without any rearchitecting of the application

2.12    Back-up & Restore Software

    - Backup Software shall be capable of supporting backup /restore from various platforms.

    - Ability to backup data from one server platform and restore it from another server platform to eliminate dependence on a particular OS machine and for disaster recovery purposes, as per software application / database. Software shall have full command line support on above mention operating systems.

    - The backup software shall be able to encrypt the backed up data using 128-bit / 256-bit AES encryption on the backup client and shall not demand for additional license, any such license if needed shall be quoted for the total number of backup clients asked for.

    - Shall support wizard-driven configuration and modifications for backups and devices.

    - The backup software shall support industry standard Common Device Interface for advanced device reporting and handling.

    - Shall have cross platform Domain Architecture for User management and shall also have role based User management and access control for multitenant environments.

    - Shall support de-duplicated backup and recovery

    - Shall support backups for clustered servers and shall have the ability to backup data from clustered servers from the virtual client, backing up data only once and giving consistent backup in case of failover of nodes.

    - The backup software shall support backup and restore of NDMP data to media server attached Storage.

    - Shall integrate with third party VTL which has data de-duplication capabilities.

    - The backup software shall support for online backup for all the OS / Data Bases supplied with out of box agents. Backup licenses shall be provided based on database being used in the system.

    - Must support Hardware and storage array based snapshot backup for off host zero downtime and zero load on the primary backup client.

    - The backup software shall support data movement directly from the backup client to the disk target without passing through the backup server.

2.13    Operating System (OS)

Operating system shall support latest version for Applications and Databases. Desktops shall support Microsoft Windows for client applications. Servers shall be Windows/Linux/Unix operating system based. All Operating System shall be supplied with required licenses valid throughout project implementation, Warranty & AMC period. Operating system in production environment shall have Premium support.

2.14      Antivirus Software

## The antivirus software shall be enterprise class along with latest version of software. The software should be upgradable to latest virus definitions on periodic basis. The license should be considered for the contract lifetime.

--- End of Vol II Section 2 ---